## Tabelle1
Steam: | 80 bar with 500 degrees C
Maximum quantity of incoming steam: | 150 t/h
Electrical power: | 35 MW
Speed of turbine: | 6256 U/Min.
Speed of generator: | 1500 U/Min.